## Introduction
ADMS
16.0.0
Alarmable Events
Document Date: Apr 24, 2024
This spreadsheet describes the "proxysrv.almmsg" message formats and parameters in the following worksheets.
Event Types
This worksheet lists the alarmable event types that IDMS (including switching, incidents, and DNAF functions) can send to the Alarm subsystem. The worksheet contains the following the columns:
Event Type Name
Sort - This is used for sorting for this sheet only. It does not impact what is sent to the Alarm subsystem.
Purpose
Operator Can Inhibit
Default Text String
Example Default Message
Category
AOR(s)
Message Format - This refers to specific Message Format used, as defined on the Message Formats sheet.
Flag(s)
Real(s)
Int(s)
Group ID
Object ID
Location ID
Composite ID
URL String
Note that an event's Location value is set independently of its event type, but is always set to the eight character substation ID. The value is not dependent on whether the event is for a device inside or outside of its primary substation. The event's Location is always based on the nominal topology as opposed to the actual topology.
Message Formats
This worksheet explains the message formats that are sent from IDMS to the Alarms subsystem (via proxysrv). The worksheet contains the following columns:
MessageFormat - The name of the message format.
Sort - This is used for sorting of this sheet only. It does not impact what is sent to the Alarm subsystem.
FieldName
Beginning Position
Ending Position (inclusive)
FieldLength
Comments
Copyright
Copyright 2025, GE Vernova and/or its affiliates ("GE Vernova"). All Rights Reserved. This document is the confidential and
proprietary information of GE Vernova and may not be reproduced, transmitted, stored, or copied in whole or in part, or
used to furnish information to others, without the prior written permission of GE Vernova.

## Event Types
Event Type Name | Sort | Purpose | Operator Can Inhibit | Default Text String | Example Default Message | Category | AOR(s) | Message Format | Flag(s) | Real(s) | Int(s) | Group ID | Object ID | Location ID | Composite ID | URL String
AF111 | 1 | AFR could not complete due to voltage or loading violation | no | <StationName> <FeederID> AFR oper prevented due to limit limit name: <LimitName> | RAVEN F34523 AFR oper prevented due to limit limit name: EMERGENCY | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
AF112 | 2 | Indicate that AFR is completed and provide plan generation summary | no | <StationName> <FeederID> AFR completed <ResultString> | RAVEN F34523 AFR completed PLAN FOUND W/ FLOW VIOLATIONS NOT FIXED BY LVM - PENDING APPROVAL | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | trigger indicator | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
AF113 | 3 | Indicate that AFR failed to complete and provide solution fail reason | no | <StationName> <FeederID> AFR failed to complete reason: <Reason> | RAVEN F34523 AFR failed to complete reason: NO OVERLOAD COMPONENT | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
AF115 | 4 | Indicate that AFR is starting to solve and provide the solution trigger | no | <StationName> <FeederID>AFR STARTED <triggerStr> | RAVEN F34523 AFR STARTED (OVERLOAD DETECTION) | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
AF122 | 5 | AFR plan implementation ends | no | <StationName> AFR PLAN IMPLEMENTATION COMPLETED | RAVEN AFR PLAN IMPLEMENTATION COMPLETED | DMSSYS | RAVENNW | FORMAT2 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
AF123 | 6 | AFR plan implementation failed on device | no | <StationName> AFR PLAN IMPLEMENTATION FAILED ON <DeviceID> | RAVEN AFR PLAN IMPLEMENTATION FAILED ON F34523 | DMSSYS | RAVENNW | FORMAT2 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
AF125 | 7 | AFR plan implementation starts | no | <StationName> AFR PLAN IMPLEMENTATION STARTED | RAVEN AFR PLAN IMPLEMENTATION STARTED | DMSSYS | RAVENNW | FORMAT2 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
AF128 | 8 | AFR plan implementation rejected | no | <StationName> AFR PLAN <PlanID> rejected comment: <Comment> | RAVEN AFR PLAN AFR_RAVEN1468610189_1 REJECTED COMMENT: -- | DMSSYS | RAVENNW | FORMAT2 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
AF129 | 9 | AFR plan implementation approved | no | <StationName> AFR PLAN <PlanID> approved comment: <Comment> | RAVEN AFR PLAN AFR_RAVEN1468610189_1 APPROVED COMMENT: -- | DMSSYS | RAVENNW | FORMAT2 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
AF158 | 10 | AFR plan canceled or execution mode changed | no | <StationName> AFR PLAN <PlanId> CANCELED <StationName> AFR PLAN <PlanId> EXECUTION MODE CHANGED FROM CLOSED-LOOP TO SEMI-AUTOMATIC DUE TO THE THIRD-PARTY OWNED EQUIPMENT <StationName> AFR PLAN <PlanId> EXECUTION MODE CHANGED FROM SEMI-AUTOMATIC TO ADVISORY DUE TO THE THIRD-PARTY OWNED EQUIPMENT | RAVEN AFR PLAN AFR_1010103153_1 CANCELED RAVEN AFR PLAN AFR_1010103153_1 EXECUTION MODE CHANGED FROM CLOSED-LOOP TO SEMI-AUTOMATIC DUE TO THE THIRD-PARTY OWNED EQUIPMENT RAVEN AFR PLAN AFR_1010103153_1 EXECUTION MODE CHANGED FROM SEMI-AUTOMATIC TO ADVISORY DUE TO THE THIRD-PARTY OWNED EQUIPMENT | DMSSYS | RAVENNW | FORMAT2 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
AF217 | 11 | AFR is disabled for feeder by DMS | no | <StationName> <FeederID> AFR DISABLED REASON: <Reason> | RAVEN F34523 AFR DISABLED REASON: RECLOSER 123456 OVERLOADED | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
AF2310 | 12 | AFR is enabled for feeder by SCADA Distribution Automation (DA) status measurement | no | <StationName> <FeederID> AFR ENABLED REASON: <Reason> | RAVEN F34523 AFR ENABLED REASON: reason | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
AF237 | 13 | AFR is disabled for feeder by SCADA DA status measurement | no | <StationName> <FeederID> AFR DISABLED REASON: <Reason> | RAVEN F34523 AFR DISABLED REASON: reason | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
AF238 | 14 | AFR enable/disabled for feeder by SCADA DA status measurement not changed | no | <StationName> <FeederID> AFR ENABLE/DISABLE STATUS NO CHANGE REASON: <Reason> | RAVEN F34523 AFR ENABLE/DISABLE STATUS NO CHANGE REASON: reason | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
AF241 | 15 | AFR plan found, but violations cannot be addressed with LVM | no | <StationName> <FeederID> VOLTAGE CONSTRAINTS CANNOT BE MAINTAINED BY LVM | RAVEN F34523 VOLTAGE CONSTRAINTS CANNOT BE MAINTAINED BY LVM | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
AF242 | 16 | AFR plan found with violations that can be addressed with LVM | no | <StationName> <FeederID> AFR PLAN FOUND. LVM VOLTAGE CORRECTIONS REQUIRED | RAVEN F34523 AFR PLAN FOUND. LVM VOLTAGE CORRECTIONS REQUIRED | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
AF313 | 17 | Overload solution for device NOT found by AFR | no | <StationID> <TypeGroup> <device> AFR ovrld sln not found | RAVEN BREAKER 123456 AFR ovrld sln not found | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
AF314 | 18 | Overload solution for device found by AFR | no | <StationID> <TypeGroup> <device> AFR ovrld sln found | RAVEN BREAKER 123456 AFR ovrld sln found | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
AF323 | 19 | Device failed to complete AFR command | no | <StationID> <TypeGroup> <device> AFR CMD FAILURE. CMD: <Command> | RAVEN BREAKER 123456 AFR CMD FAILURE. CMD: OPEN | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
AF326 | 20 | Device has low current flow. May indicate switch failure to close. | no | <StationID> <TypeGroup> <device> AFR LOW FLOW FLOW OF <FlowLevel> A BELOW LIMIT OF <FlowLimit> A | RAVEN BREAKER 123456 AFR LOW FLOW FLOW OF 10 A BELOW LIMIT OF 20 A | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
AF337 | 21 | AFR is disabled for switch by SCADA DA status measurement | no | <StationName> <FeederID> <TypeGroup> <device> AFR DISABLED FOR SWITCH REASON: MEASUREMENT VALUE CHANGED TO DISABLED |  | DMSSYS | RAVENNW | FORMAT1 | {"IsFollower"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
AF3310 | 22 | AFR is enabled for switch by SCADA DA status measurement | no | <StationName> <FeederID> <TypeGroup> <device> AFR ENABLED FOR SWITCH REASON: MEASUREMENT VALUE CHANGED TO ENABLED |  | DMSSYS | RAVENNW | FORMAT1 | {"IsFollower"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP001 | 23 | Device commanded to a new state | no | <StationName> <DeviceType> <DeviceName or DeviceID> set to <Flag> by <User> on <PcName> | RAVEN SWITCH 203454 set to OPEN by user1 on IDMS20 If device name is not available: RAVEN SWITCH ID: 22131665 set to OPEN by user1 on IDMS20 | DMSOPER Fixed from code:SetCategoryId(dmsOper) | Permissiom area of the device from GetPermissionArea() function.eg. RAVENNW (Configurable from station external/internals file.) | DMS1 | {"CLOSE","OPEN"} Controlled by ALIAS cmd = flag1[1] from proxysrv.almmsg. Configurable. | NA | NA | (configurable) either CRC of DMS Station Name or CRC of EMS Station Name + Feeder Name (if available) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP002 | 24 | Permanent status changed for a switch | no | <StationName> <DeviceType> <DeviceName or DeviceID> <Status> by <User> on <PcName> | RAVEN Switch 203454 normal state change pending by user1 on host1 | DMSOPER | RAVENNW | DMS1 | {"no change to normal state", "normal state chng pending"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP003 | 25 | Insert or remove a jumper | no | Jumper <Name> <Command> from <StationID1> <FeederID1> PH <Phase1> to <StationID2> <FeederID2> PH <Phase2> by <User> on <PcName> | Jumper J123456 placed from RAVEN F8863 PH ABC to RAVEN F8863 PH ABC by user1 on host1 | DMSOPER | RAVENNW | DMS2 | {"REMOVED","PLACED"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM jumper Id | empty
DMSOP004 | 26 | Insert or remove a cut | no | Cut <StationName> <FeederID> PH <Phase> <Command>, Name <Name> by <User> on <PcName> | Cut RAVEN F8863 PH ABC placed, Name:xxxx by user1 on host1 | DMSOPER | RAVENNW | DMS3 | {"REMOVED","PLACED"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM cut Id | empty
DMSOP005 | 27 | Apply or remove a temporary ground or permanent fault | no | <StationName> <FeederID> <GroundOrFault> PH <Phase> <Flag>, Name: <Name> by <User> on <PcName> | RAVEN F8864 TEMP GROUND PH ABCG PLACED, NAME: xxxxxx BY user1 ON host1 | DMSOPER | RAVENNW | DMS4 | {"REMOVED","PLACED"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM fault/ground Id | empty
DMSOP006 | 28 | Add, Delete or Modify Annotation | no | <StationName> <Type> Annotation <Flag>, name: <name>, name: <name> comment: <Comment> by <User> on <PcName> | RAVEN Data Quality Annotation added, name: xxxxxxxxxx device:xxxxxxxxxxxx comment: xxxxxxxxxxxx by user1 on host1 | DMSOPER | RAVENNW | DMS5 | {"added","deleted","modified"} string output depending on annota,annotd,annotm if-else loop. | NA | Annotation Type | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM annotation Id | empty
DMSOP007 | 29 | Device phase commanded to new state | no | <StationName> <DeviceType> <DeviceName or DeviceID> PH <Phase> set to <Flag> by <User> on <PcName> | RAVEN switch 203454 PH AC set to OPEN by user1 on host1 on IDMS20 If device name is not available: RAVEN switch ID: 22131665 PH AC set to OPEN by user1 on host1 on IDMS20 | DMSOPER | RAVENNW | DMS11 | {"CLOSE", "OPEN"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP008 | 30 | A client dynamic is not in sync for some period of time | no | Dynamic of <ClientType> at <ClientIP> is not sync for <Elapsed> seconds by <User> on <PcName> | Dynamic of NetClient at 127.0.0.1 is not in sync for 11 seconds by DMSALL on host1 | DMSOPER | NA | NA | NA | NA | NA
DMSOP009 | 31 | A server thread has backlog over a value for some period of time | no | <Queue> of <ClientThread>'s backlog is over <BacklogLimit> (<CurBacklog>) for <ElapseTime> seconds BY <User> ON <PcName> | InQueue of Ntp thread01's backlog is over 5 (10) for 15 seconds BY user1 ON host1 | DMSOPER | NA | NA | NA | NA | NA
DMSOP010 | 32 | Regulator and LTC transformer On/Off | no | <StationName> regulator <DeviceID> set to <Flag> by <User> on <PcName> | RAVEN regulator 203454 set to OFF by user1 on host1 | DMSOPER | RAVENNW | DMS1 | {"OFF","ON"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP011 | 33 | Regulator and LTC transformer Blocked/Unblocked | no | <StationName> regulator <DeviceID> <Flag> by <User> on <PcName> | RAVEN regulator 203454 unblocked by user1 on host1 | DMSOPER | RAVENNW | DMS1 | {"UNBLOCKED","BLOCKED"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP012 | 34 | Regulator voltage reduction On/Off | no | <StationName> regulator <DeviceID> volt reduct <Flag> by <User> on <PcName> | RAVEN regulator 203454 volt reduct OFF by user1 on host1 | DMSOPER | RAVENNW | DMS1 | {"OFF","ON"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP013 | 35 | Regulator device: remote/local | no | <StationName> regulator <DeviceID> SET TO <cmd> by <User> on <PcName> | RAVEN REGULATOR 203454 SET TO REMOTE by user1 on host1 | DMSOPER | RAVENNW | DMS1 | {"LOCAL","REMOTE"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP014 | 36 | Regulator device: tap step change | no | <StationName> regulator <DeviceID> STEP AT <stepVal> by <User> on <PcName> | RAVEN regulator 203454 STEP AT 6 by user1 on host1 | DMSOPER | RAVENNW | DMS1 | NA | NA | TapStep | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP015 | 37 | Regulator device: supervisory cutout | no | <StationName> regulator <DeviceID> SUP CUTOUT <Flag> by <User> on <PcName> | RAVEN regulator 203454 SUP CUTOUT ON by user1 on host1 | DMSOPER | RAVENNW | DMS1 | {"OFF","ON"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP028 | 38 | Capacitor Banks: On/Off | no | <StationName> capacitor <DeviceID> set to <Flag> by <User> on <PcName> | RAVEN capacitor 5542178 set to ON by user1 on host1 | DMSOPER | RAVENNW | DMS1 | {"OFF","ON"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP034 | 39 | Fault Indicators: Set/Reset | no | <StationName> fault ind <DeviceID> set to <Flag> by <User> on <PcName> | RAVEN fault ind 23789 set to UNSET by user1 on host1 | DMSOPER | RAVENNW | DMS1 | {"UNSET", "SET"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP049 | 40 | Device commanded to a new state | no | <StationName> compswitch <DeviceID> set to <compstate> by <User> on <PcName> | RAVEN compswitch 45678 set to OFF by user1 on host1 | DMSOPER | RAVENNW | DMS7 | NA | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP050 | 41 | Event is fired when standby processing is complete on the server | no | <role> processing complete for server <server> | STANDBY processing complete for server host1 | DMSOPER | RAVENNW | DMS8 | NA | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | empty | empty
DMSOP052 | 42 | Remove temporary ground or permanent fault | no | <StationName> <FeederID> <GroundOrFault> PH <Phases> REMOVED, NAME <name> BY <User> ON <PcName> | RAVEN 178399 TEMP GROUND PH AG REMOVED, NAME: xxxxxxxx BY user1 ON host1 | DMSOPER | RAVENNW | DMS10 | NA | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
DMSOP054 | 43 | Capacitor Banks set to Inoperable/Operable | no | <StationName> capacitor <DeviceID> made <Flag> by <User> on <PcName> | RAVEN capacitor 5542178 made INOPERABLE by user1 on host1 | DMSOPER | RAVENNW | DMS1 | {"OPERABLE","INOPERABLE"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP055 | 44 | Station Model file was updated, but failed to load successfully | no | <StationName> model file was updated, but failed to load by <User> on <PcName> | RAVEN model file was updated, but failed to load by user1 on host1 | DMSOPER | RAVENNW | DMS6 | NA | NA | NA | CRC of DMS Station Name | CRC of DMS Station Name | LOCAL | Station Name | empty
DMSOP056 | 45 | Distribution transformer: connected/disconnected | no | <StationName> dist TF <DeviceID> <cmd> by <User> on <PcName> | RAVEN dist TF 23456 DISCONNECTED by user1 on host1 | DMSOPER | RAVENNW | DMS1 | {"DISCONNECTED","CONNECTED"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP057 | 46 | Distribution transformer: confirm connected/disconnected | no | <StationName> dist TF <DeviceID> CONFIRM <cmd> by <User> on <PcName> | RAVEN dist TF 23456 CONFIRM CONNECTED by user1 on host1 | DMSOPER | RAVENNW | DMS1 | {"DISCONNECTED","CONNECTED"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP060 | 47 | DNAF application configuration was changed | no | USER <User> MADE <NumChanges> <application> APPLICATION CHANGES FROM <PcName> | USER user1 MADE 1 PRV APPLICATION CHANGES FROM host1 | DMSSYS | ALARM | NA | {PRV, FL, LVM, DPF, AFR, FISR} | NA | {num changes} | NA | NA | SYSTEM | NA | empty
DMSOP061 | 48 | Device confirmed open/closed | no | <StationName> <DeviceType> <DeviceName or DeviceID> SET TO CONFIRM <Flag> by <User> on <PcName> | RAVEN SWITCH 203454 SET TO CONFIRM OPEN BY user1 on IDMS20 If device name is not available: RAVEN SWITCH ID: 22131665 SET TO CONFIRM OPEN BY user1 on IDMS20 | DMSOPER | RAVENNW | DMS1 | {"CLOSE","OPEN"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP062 | 49 | Device phase confirmed open/closed | no | <StationName> <DeviceType> <DeviceID> PH <Phase> CONFIRM <Flag> BY <User> ON <PcName> | RAVEN SWITCH 203454 PH AC CONFIRM OPEN BY user1 ON host1 | DMSOPER | RAVENNW | DMS11 | {"CLOSE", "OPEN"} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
DMSOP063 | 50 | Standby to enabled server connection status change | no | %<ClientType> at %<ClientIP> connection status: %<cmd> BY %<User> ON %<PcName> | Standby at 127.0.0.1 connection status: CONNECTED BY System on host1 VIP Client at 127.0.0.1 connection status: CONNECTED BY SYSTEM ON host1 DMSINTERFACESERVER at 127.0.0.1 connection status: CONNECTED BY SYSTEM ON host1 DNAF at 127.0.0.1 connection status: DISCONNECTED BY SYSTEM ON host1 OMS at 127.0.0.2 connection status: DISCONNECTED BY SYSTEM ON host1 | DMSOPER |  | NA | {"CONNECTED","DISCONNECTED"} | NA | NA |  | NA | SYSTEM | NA | empty
DMSOP064 | 51 | Switching Order Mobile application message | no | - A SOS message received from field: %<message>s. Employee Id: %<employeeId>s. SWO: %<swoName>s. - A message received from field: %<message>s. - SOS message was accepted by field employee. Employee Id: %<employeeId>s - SWO was updated from field. - SWO was %<message>s. - Step Status Update From Field: Ok. %<message>s - %<message>s | Step Status Update From Field: Ok. Stepp Id = [StepId]. Update type = Confirm. Employee Id: [Employee ID] SWO: [SWO Numbet] | DMSOPER | [9 empty] | empty
DMSOP065 | 52 | Switching Order Mobile application message | no | - Failed to Deliver SwitchOrder to non-mobile employee. Employee Id: %<employeeId>s. SWO: %<swoName>s. - Failed to Deliver SwitchOrder to Mobile Server. SWO: %<swoName>s. - Operation %<message>s was rejected by e-terra Mobile. - Message was not sent for the time specified. - Outstanding messages were cleared. - %<message>s | A message from field: [MessageText]. Employee Id: [Employee ID] | DMSOPER | [9 empty] | empty
DMSOP066 | 53 | DMS Interface Server failed to send a DER control plan to the 2030.5 Gateway | no | DER Control Plan %<PlanId>s is timed out (it was not transmitted to aggregator in %<Timeout>d minutes) | DER Control Plan LVM_1003080544 is timed out (it was not transmitted to aggregator in 10 minutes) | DMSOPER | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
DMSOP067 | 54 | DER control plan status change | no | DER Control Plan %<planId>s status set to %<msgStatus>s | DER Control Plan LVM_1003080544 status set to Dispatched | DMSOPER | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
DMSOP068 | 55 | Standby OMS Server connected/disconnected from a DMS Follower server | no | %<clientType>s at %<clientIp>s status: %<cmd>s Dms follower BY %<user>s ON %<pcname>s | OMS at 127.0.0.1 status: CONNECTED TO Dms follower BY DMS ON idms50 | DMSOPER |  |  | NA |  | NA |  |  |  |  | empty
DMSOP069 | 56 | Untrusted user connection rejected for a DMS Follower server | no | Dms follower disconnected untrusted user %<clientType>s at %<clientIp>s | Dms follower disconnected untrusted user OMS at 127.0.0.1 | DMSOPER |  |  | NA |  | NA |  |  |  |  | empty
DMSOP070 | 57 | DMS Server rejected connection from a blacklisted user | no | %<serverType>s rejected blacklisted %<disType>s user at %<clientIp>s | DMS rejected blacklisted user Untrusted at 123.456.321 | DMSOPER |  |  | NA |  | NA |  |  |  |  | empty
DMSOP071 | 58 | DMS Server rejected connection from a user with an excessive rate of connection attempts | no | "%<serverType>s rejected high rate connect attempts from %<clientIp>s %<listenstop>s | DMS rejected high rate connect attempts from 172.25.132.59, listener stopped | DMSOPER |  |  | NA |  | NA |  |  |  |  | empty
DMSOP072 | 59 | Faulted Section Determination Stage 1 starting | no | FSD Stage 1 started for transformer %<stationNm>s %<tfNm>s | FSD Stage 1 started for transformer PLUTO T2 | DMSOPER |  |  | NA |  | NA |  |  |  |  | empty
DMSOP073 | 60 | Faulted Section Determination Stage 1 successfully ended | no | Successfully identified faulted feeder: %<stationNm>s %<feederNm>s | Successfully identified faulted feeder: PLUTO F5034 | DMSOPER |  |  | NA |  | NA |  |  |  |  | empty
DMSOP074 | 61 | Faulted Section Determination Stage 1 ended with no result | no | Identification of faulted feeder failed on transformer %<stationNm>s %<tfNm>s | Identification of faulted feeder failed on transformer PLUTO T2 | DMSOPER |  |  | NA |  | NA |  |  |  |  | empty
DMSOP075 | 62 | SCADA control failure during FSD Stage 1 | no | %<stationNm>s %<deviceNm>s control failure during FSD Stage 1 | PLUTO 5039F control failure during FSD Stage 2 | DMSOPER |  |  | NA |  | NA |  |  |  |  | empty
DMSOP076 | 63 | Faulted Section Determination Stage 2 starting | no | FSD Stage 2 started for feeder %<stationNm>s %<feederNm>s | FSD Stage 2 started for feeder PLUTO 5039F | DMSOPER |  |  | NA |  | NA |  |  |  |  | empty
DMSOP077 | 64 | Faulted Section Determination Stage 2 successfully ended | no | Successfully identified faulted section: %<stationNm>s %<deviceID1>s, %<stationNm>s %<deviceID2>s | Successfully identified faulted section: RAVEN 51729, RAVEN 51730 | DMSOPER |  |  | NA |  | NA |  |  |  |  | empty
DMSOP078 | 65 | Faulted Section Determination Stage 2 ended with no result | no | Identification of faulted section failed on feeder %<stationNm>s %<feederNm>s | Identification of faulted section failed on feeder PLUTO 5039F | DMSOPER |  |  | NA |  | NA |  |  |  |  | empty
DMSOP079 | 66 | SCADA control failure during FSD Stage 2 | no | %<stationNm>s %<deviceNm>s control failure during FSD Stage 2 | RAVEN 51729 control failure during FSD Stage 2 | DMSOPER |  |  | NA |  | NA |  |  |  |  | empty
DMSOP080 | 67 | Web API request to create a hot line hold document | no | WebApi Request %<requestId>s for creating Hot Line Hold document %<sWOName>s by %<userName>s Station: %<stationNm>s, Service Center: %<srvCntr>s, Division: %<division>s, Start Time: %<startDate>s, End Time: %<endDate>s | WebApi Request DMSALL_AUTO_HLH0 for creating Hot Line Hold document Test_HLH0008 by DMSALL Station: RAVEN, Service Center: 3LIONSSC, Division: RAVENSW, Start Time: 11/11/2019 09:47:2, End Time: 11/11/2019 09:47:2 | DMSOPER |  |  | NA |  | NA |  |  |  |  | empty
DMSOP081 | 68 | Switching device specific open state classification change to Temporary Open (TOP), Bad Open (BOP), Normal Open (NOP), or Normal. | no | %<stationId>s %<typeStr>s %<deviceId>s is currently in %<stateStr>s and in %<transStr>s classification BY %<user>s ON %<pcname>s | BETHPAGE SWITCH 413506 is currently CLOSE and in TOP classification by DMSALL on RH11533 | DMSOPER |  |  | NA |  | NA |  |  |  |  | empty
FI111 | 69 | FISR could not complete due to voltage or loading violation | no | <StationName> <FeederID> FISR oper prevented due to limit limit name: <LimitName> | RAVEN F34523 FISR oper prevented due to limit limit name: EMERGENCY | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
FI1111 | 70 | Indicate that FISR is not triggered | no | <StationName> <FeederID> FISR NOT TRIGGERED REASON: <Reason> | RAVEN F34523 FISR NOT TRIGGERED REASON: FAULT NOT CONFIRMED BY FAULT LOCATION | DMSSYS | RAVENNW | FORMAT2 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
FI112 | 71 | Indicate that FISR is completed and provide plan generation summary | no | <StationName> <FeederID> FISR COMPLETED <ResultString> | RAVEN F34523 FISR COMPLETED NO PLAN - NO TIE SWITCHES | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | trigger indicator | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
FI113 | 72 | Indicates that FISR failed to complete and provides solution fail reason | no | <StationName> <FeederID> FISR failed to complete Reason: <Reason> | RAVEN F34523 FISR failed to complete Reason: NOT ENOUGH FAULT INFORMATION | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
FI115 | 73 | Indicate that FISR is starting to solve and provide the solution trigger | no | <StationName> <FeederID> FISR STARTED <TriggerStr> | RAVEN F34523 FISR STARTED (USER REQUEST) | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
FI122 | 74 | FISR plan implementation ends | no | <StationName> FISR PLAN IMPLEMENTATION COMPLETED | RAVEN FISR PLAN IMPLEMENTATION COMPLETED | DMSSYS | RAVENNW | FORMAT2 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
FI123 | 75 | FISR plan implementation failed | no | <StationName> FISR PLAN IMPLEMENTATION FAILED ON <DeviceID> | RAVEN FISR PLAN IMPLEMENTATION FAILED ON F12346 | DMSSYS | RAVENNW | FORMAT2 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
FI125 | 76 | FISR plan implementation started | no | <StationName> FISR PLAN IMPLEMENTATION STARTED | RAVEN FISR PLAN IMPLEMENTATION STARTED | DMSSYS | RAVENNW | FORMAT2 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
FI128 | 77 | FISR plan implementation rejected | no | <StationName> FISR PLAN <PlanID> rejected comment: <Comment> | RAVEN FISR PLAN FISR_RAVEN1468610189_1 REJECTED COMMENT: -- | DMSSYS | RAVENNW | FORMAT2 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
FI129 | 78 | FISR plan implementation approved | no | <StationName> FISR PLAN <PlanID> approved comment: <Comment> | RAVEN FISR PLAN FISR_RAVEN1468610189_1 APPROVED COMMENT: -- | DMSSYS | RAVENNW | FORMAT2 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
FI158 | 79 | FISR plan canceled or execution mode changed | no | <StationName> FISR PLAN <PlanId> CANCELED <StationName> FISR PLAN <PlanId> CANCELED DUE TO NEW FAULT EVENT DURING PLAN EXECUTION <StationName> FISR PLAN <PlanId> EXECUTION MODE CHANGED FROM CLOSED-LOOP TO SEMI-AUTOMATIC DUE TO THE THIRD-PARTY OWNED EQUIPMENT <StationName> FISR PLAN <PlanId> EXECUTION MODE CHANGED FROM SEMI-AUTOMATIC TO ADVISORY DUE TO THE THIRD-PARTY OWNED EQUIPMENT | RAVEN FISR PLAN FISR_1010103153_1 CANCELED RAVEN FISR PLAN FISR_1010103153_1 CANCELED DUE TO NEW FAULT EVENT DURING PLAN EXECUTION RAVEN FISR PLAN FISR_1010103153_1 EXECUTION MODE CHANGED FROM CLOSED-LOOP TO SEMI-AUTOMATIC DUE TO THE THIRD-PARTY OWNED EQUIPMENT RAVEN FISR PLAN FISR_1010103153_1 EXECUTION MODE CHANGED FROM SEMI-AUTOMATIC TO ADVISORY DUE TO THE THIRD-PARTY OWNED EQUIPMENT | DMSSYS | RAVENNW | FORMAT2 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
FI217 | 80 | FISR is disabled for feeder by DMS | no | <StationName> <FeederID> FISR DISABLED. REASON: <reason> | RAVEN F34523 FISR DISABLED. REASON: RECLOSER 123456 OVERLOADED | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
FI2310 | 81 | FISR is enabled for feeder by SCADA DA status measurement | no | <StationName> <FeederID> FISR ENABLED REASON: <Reason> | RAVEN F34523 FISR ENABLED REASON: reason | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
FI237 | 82 | FISR is disabled for feeder by SCADA DA status measurement | no | <StationName> <FeederID> FISR DISABLED REASON: <Reason> | RAVEN F34523 FISR DISABLED REASON: reason | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
FI238 | 83 | FISR enable/disabled for feeder by SCADA DA status measurement not changed | no | <StationName> <FeederID> FISR ENABLE/DISABLE STATUS NO CHANGE REASON: <Reason> | RAVEN F34523 FISR ENABLE/DISABLE STATUS NO CHANGE REASON: reason | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
FI241 | 84 | FISR plan found, but violations cannot be addressed with LVM | no | <StationName> <FeederID> VOLTAGE CONSTRAINTS CANNOT BE MAINTAINED BY LVM | RAVEN F34523 VOLTAGE CONSTRAINTS CANNOT BE MAINTAINED BY LVM | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
FI242 | 85 | FISR plan found with violations that can be addressed with LVM | no | <StationName> <FeederID> FISR PLAN FOUND. LVM VOLTAGE CORRECTIONS REQUIRED | RAVEN F34523 FISR PLAN FOUND. LVM VOLTAGE CORRECTIONS REQUIRED | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
FI323 | 86 | Device failed to complete FISR command | no | <StationID> <TypeGroup> <device> FISR CMD FAILURE CMD: <Command> | RAVEN BREAKER 123456 FISR CMD FAILURE CMD: OPEN | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
FI326 | 87 | Device has low current flow. May indicate switch failure to close. | no | <StationID> <TypeGroup> <device> FISR LOW FLOW FLOW OF <FlowLevel> A BELOW LIMIT OF <FlowLimit> A | RAVEN BREAKER 123456 FISR LOW FLOW FLOW OF 10 A BELOW LIMIT OF 20 A | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
FI337 | 86 | FISR is disabled for switch by SCADA DA status measurement | no | <StationName> <FeederID> <TypeGroup> <device> FISR DISABLED FOR SWITCH REASON: MEASUREMENT VALUE CHANGED TO DISABLED |  | DMSSYS | RAVENNW | FORMAT1 | {"IsFollower"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
FI3310 | 87 | FISR is enabled for switch by SCADA DA status measurement | no | <StationName> <FeederID> <TypeGroup> <device> FISR ENABLED FOR SWITCH REASON: MEASUREMENT VALUE CHANGED TO ENABLED |  | DMSSYS | RAVENNW | FORMAT1 | {"IsFollower"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
FL112 | 90 | Fault location calculation completed successfully (is shown only when fault location event happens) | no | <StationName> FL CALCULATIONS COMPLETED SUCCESSFULLY" | RAVEN FL CALCULATIONS COMPLETED SUCCESSFULLY | DNAF_FL | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
FL113 | 91 | Fault location failed to complete (is shown only when fault location event happens). Should display failure reason. | no | <StationName> FL FAILED TO COMPLETE REASON: <Reason> | RAVEN FL FAILED TO COMPLETE REASON: FL FAULT CURRENT AND PHASE TARGETS WERE INCORRECTLY SET | DNAF_FL | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
FL115 | 92 | Fault location started (is shown only when fault location event happens) | no | <StationID> FL started | REAVEN FL STARTED | DNAF_FL | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
OMSOP041 | 93 | NetServer Overloaded | no | NetServer Overloaded: [Thread(<number>)] [VM(<number>)] [WorkingVM(<number>)] | NetServer Overloaded: Thread(699) either one or more conditions maybe listed | OMSOPER | RAVENNW | OMS4 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | Device Name | empty
OMSOP042 | 94 | Unacknowledged momentary incident created | no | UNACKNOWLEDGED MOMENTARY INCIDENT <IncidentID> CREATED FOR STATION <StationName> ON DEVICE <DeviceName or DeviceID> | UNACKNOWLEDGED MOMENTARY INCIDENT 2015000238 CREATED FOR STATION RAVEN ON DEVICE 12345 | OMSOPER | RAVENNW | OMS6 | NA | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | Incident Id | empty
OMSOP043 | 95 | Unacknowledged sustained incident created | no | UNACKNOWLEDGED SUSTAINED INCIDENT <IncidentID> CREATED FOR STATION <StationName> ON DEVICE <DeviceName or DeviceID> | UNACKNOWLEDGED SUSTAINED INCIDENT 2015000238 CREATED FOR STATION RAVEN ON DEVICE 12345 | OMSOPER | RAVENNW | OMS6 | NA | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | Incident Id | empty
OMSOP044 | 96 | Incident affects critical customers | no | INCIDENT <IncidentID> AFFECTS CRITICAL CUSTOMERS | INCIDENT 2015000238 AFFECTS CRITICAL CUSTOMERS | OMSOPER | RAVENNW | OMS7 | NA | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | Incident Id | empty
OMSOP045 | 97 | Emergency call received | no | EMERGENCY CALL RECEIVED | EMERGENCY CALL RECEIVED | OMSOPER | RAVENNW | NA | NA | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | empty | empty
OMSOP046 | 98 | Customer suspended | no | Customer suspended, account <AccountNumber>, meter <MeterNumber> | Customer suspended, account 1234567890, meter 87654321 | OMSOPER | RAVENNW | OMS8 | NA | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | Customer Key | empty
OMSOP047 | 99 | Customer unsuspended | no | Customer unsuspended, account <AccountNumber>, meter <MeterNumber> | Customer unsuspended, account 1234567890, meter 87654321 | OMSOPER | RAVENNW | OMS8 | NA | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | Customer Key | empty
OMSOP048 | 100 | Undo confirmation was performed for an incident | no | UNDO CONFIRMATION PERFORMED FOR INCIDENT <IncidentID>, STATION <StationName>, DEVICE <DeviceName or DeviceID> | UNDO CONFIRMATION PERFORMED FOR INCIDENT 2015000238, STATION RAVEN, DEVICE 12345 | OMSOPER | RAVENNW | OMS6 | NA | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | Incident Id | empty
OMSOP049 | 101 | Device phase prediction blocked/unblocked | no | <StationName> <DeviceName or DeviceID> PH <Phase> <Flag>BLOCKED BY <User> ON <PcName> | RAVEN 203454 PH AC UNBLOCKED BY user1 ON host1 | OMSOPER | RAVENNW | DMS11 | {"UN", ""} | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
OMSOP050 | 102 | Failure of a user-requested AMI operation | no | AMI operation failed, ACCOUNT <AccountNumber>, METER <MeterNumber>, OPERATION <Operation> | AMI operation failed, ACCOUNT 1234567890, METER 87654321, OPERATION DisconnectMeter | OMSOPER | RAVENNW | OMS9 | NA | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | Customer Key | empty
OMSOP051 | 103 | Area settings ETR expired | no | Area Settings <AreaName> ETR expired. Please delete the Area Settings or reset the ETR to another time. | Area Settings LOCKE ETR expired. Please delete the Area Settings or reset the ETR to another time. | OMSOPER | RAVENNW | OMS10 | NA | NA | NA | configurable (see above) |  |  |  | empty
OMSOP052 | 104 | Planned outage not converted to an incident (appears when the automatic conversion is disabled) | no | Planned Outage <StationName> <DeviceName> Start Time expired. Please convert it to incident | Planned Outage RAVEN 51729 Start Time expired. Please convert it to incident | OMSOPER | RAVENNW | OMS10 | NA | NA | NA | configurable (see above) |  |  |  | empty
OMSOP053 | 105 | OMS Server rejected connection from a blacklisted user | no | Oms rejected blacklisted high rate user at %<clientIp>s | Oms rejected blacklisted high rate user at 172.25.132.59 | OMSOPER |  |  | NA | NA | NA | configurable (see above) |  |  |  | empty
OMSOP054 | 106 | OMS Server rejected connection from a user with an excessive rate of connection attempts | no | Oms rejected high rate connect attempts from %<clientIp>s %<listenstop>s | Oms rejected high rate connect attempts from 172.25.132.59, listener stopped | OMSOPER |  |  | NA | NA | NA | configurable (see above) |  |  |  | empty
OMSOP055 | 107 | Non-outage incident originated | no | NON OUTAGE INCIDENT %<incidentId>s CREATED FOR STATION %<stationNm>s ON DEVICE %<deviceId>s | NON OUTAGE INCIDENT 10000001 CREATED FOR STATION RAVEN ON DEVICE 53131 | OMSOPER | RAVENNW | OMS6 | NA | NA | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | Incident Id | empty
OMSOP056 | 108 | Area settings expired | no | Area settings <AreaName> expired. Please cancel or delete the Area Settings. | Area settings LOCKE expired. Please cancel or delete the Area Settings. | OMSOPER | RAVENNW | OMS10 | NA | NA | NA | configurable (see above) |  |  |  | empty
PF113 | 109 | DPF failed to complete | no | <StationName> <FeederID> DPF failed to complete | RAVEN F34523 DPF failed to complete | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF1130 | 110 | AMI (load point) voltage mismatch violation for a station (RETURN TO NORMAL) | yes - by station | <StationName> AMI VOLTAGE MISMATCH RETURN TO NORMAL | RAVEN AMI VOLTAGE MISMATCH RETURN TO NORMAL | DNAF_VI | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF1131 | 111 | AMI (load point) voltage mismatch violation for a station | yes - by station | <StationName> AMI VOLTAGE MISMATCH VIOLATION | RAVEN AMI VOLTAGE MISMATCH VIOLATION | DNAF_VI | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF120 | 112 | DNAF Low Voltage violation for station (RETURN TO NORMAL) | yes - by station | <StationName> station low volt viol returned to normal was <OldValue> now RETURN TO NORMAL | RAVEN station low volt viol returned to normal, was LEVEL 1 now RETURN TO NORMAL | DNAF_LV{1-5} | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
PF121 | 113 | DNAF Low Voltage Violation for station | yes - by station | <StationName> station low volt viol LVL <NewValue> - <LimitName> was <OldValue>, now <NewValue> | RAVEN station low volt viol LVL 2 - EMERGENCY was NORMAL, now LVL 2 | DNAF_LV{1-5} | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
PF130 | 114 | DNAF High Voltage violation for station (RETURN TO NORMAL) | yes - by station | <StationName> station high volt viol returned to normal was <OldValue>, now RETURN TO NORMAL | RAVEN station high volt viol returned to normal was LEVEL 1, now RETURN TO NORMAL | DNAF_HV{1-5} | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
PF131 | 115 | DNAF High Voltage violation for station | yes - by station | <StationName> station high volt viol LVL <NewValue> - <LimitName> was <OldValue>, now LVL <NewValue> | RAVEN station high volt viol LVL 2 - EMERGENCY was NORMAL, now LVL 2 | DNAF_HV{1-5} | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
PF140 | 116 | DNAF Overloaded for station (RETURN TO NORMAL) | yes - by station | <StationName> station flow viol returned to normal was <OldValue>, now RETURN TO NORMAL | RAVEN station flow viol returned to normal was LEVEL 2, now RETURN TO NORMAL | DNAF_F{1-5} | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
PF141 | 117 | DNAF Overloaded for station | yes - by station | <StationName> station flow viol LVL <NewValue> - <NewLimitName> was <OldLimitName>, now LVL <NewValue> | RAVEN station flow viol LVL 2 - EMERGENCY was NORMAL, now LVL 2 | DNAF_F{1-5} | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
PF150 | 118 | Flow Imbalance Violation for Station (RETURN TO NORMAL) | yes - by station | <StationName> station imbalance flow returned to normal | RAVEN station imbalance flow returned to normal | DNAF_FI | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
PF151 | 119 | Flow Imbalance Violation for Station | yes - by station | <StationName> station imbalance flow violation | RAVEN station imbalance flow violation | DNAF_FI | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
PF160 | 120 | Voltage Imbalance Violation for Station (RETURN TO NORMAL) | yes - by station | <StationName> station voltage imbalance returned to normal | RAVEN station voltage imbalance returned to normal | DNAF_VI | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
PF161 | 121 | Voltage Imbalance Violation for Station | yes - by station | <StationName> station voltage imbalance violation | RAVEN station voltage imbalance violation | DNAF_VI | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
PF2120 | 122 | Backfeed state on feeder (RETURN TO NORMAL) | yes - by feeder | <StationName> <FeederID> BACK-FEED STATE RETURNED TO NORMAL | MUIRFIELD F34539 BACK-FEED STATE RETURNED TO NORMAL | DNAF_BF | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF2121 | 123 | Backfeed state on feeder | yes - by feeder | <StationName> <FeederID>s BACK-FEED STATE | MUIRFIELD F34539 BACK-FEED STATE | DNAF_BF | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF220 | 124 | DNAF Low Voltage violation for feeder (RETURN TO NORMAL) | yes - by feeder | <StationName> <FeederID> low volt viol returned to normal was <OldValue>, now RETURN TO NORMAL | RAVEN F34523 low volt viol returned to normal was LVL 2, now RETURN TO NORMAL | DNAF_LV{1-5} | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF221 | 125 | DNAF Low Voltage violation for feeder | yes - by feeder | <StationName> <FeederID> low volt viol LVL <NewValue> - <NewLimitName> was <OldLimitName>, now LVL <NewValue> | RAVEN F34523 low volt viol LVL 1 - NORMAL was NORMAL, now LVL 1 | DNAF_LV{1-5} | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF230 | 126 | DNAF High Voltage violation for feeder (RETURN TO NORMAL) | yes - by feeder | <StationName> <FeederID> high volt viol returned to normal was LVL <OldValue>, now RETURN TO NORMAL | RAVEN F34523 high volt viol returned to normal was LVL 2, now RETURN TO NORMAL | DNAF_HV{1-5} | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF231 | 127 | DNAF High Voltage violation for feeder | yes - by feeder | <StationName> <FeederID> high volt viol LVL <NewValue> - <NewLimitName> Was <OldLimitName>, now LVL <NewValue> | RAVEN F34523 high volt viol LVL 2 - EMERGENCY was NORMAL, now LVL 2 | DNAF_HV{1-5} | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF240 | 128 | DNAF Overloaded for feeder (RETURN TO NORMAL) | yes - by feeder | <StationName> <FeederID> flow viol returned to normal was <OldValue>, now RETURN TO NORMAL | RAVEN F34523 flow viol returned to normal was LVL 2, now RETURN TO NORMAL | DNAF_F{1-5} | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF241 | 129 | DNAF Overloaded for feeder | yes - by feeder | <StationName> <FeederID> flow viol LVL <NewValue> - <NewLimitName> was <OldLimitName>, now LVL <NewValue> | RAVEN F34523 flow viol LVL 2 - SHORT was NORMAL, now LVL 2 | DNAF_F{1-5} | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF250 | 130 | Flow Imbalance Violation for feeder (RETURN TO NORMAL) | yes - by feeder | <StationName> <FeederID> flow imbalance returned to normal | RAVEN F34523 flow imbalance returned to normal | DNAF_FI | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF251 | 131 | Flow Imbalance Violation for feeder | yes - by feeder | <StationName> <FeederID> flow imbalance violation | RAVEN F34523 flow imbalance violation | DNAF_FI | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF260 | 132 | Voltage Imbalance Violation for feeder (RETURN TO NORMAL) | yes - by feeder | <StationName> <FeederID> voltage imbalance returned to normal | RAVEN F34523 voltage imbalance returned to normal | DNAF_VI | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF261 | 133 | Voltage Imbalance Violation for feeder | yes - by feeder | <StationName> <FeederID> voltage imbalance violation | RAVEN F34523 voltage imbalance violation | DNAF_VI | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF280 | 134 | Capacitor position validation for feeder (RETURN TO NORMAL) | yes - by feeder | <StationName> <FeederID> capacitor position validation was successful | RAVEN F34523 capacitor position validation was successful | DNAF_CAPI | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF281 | 135 | Capacitor position validation for feeder (failed) | yes - by feeder | <StationName> <FeederID> capacitor position validation failed | RAVEN F34523 capacitor position validation failed | DNAF_CAPI | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF3106 | 136 | Unexpected voltage measurement from energized device | no | <StationID> <Device> ENERGIZED SENSOR IS READING <DevReading> VOLT | RAVEN 12345 ENERGIZED SENSOR IS READING 125 VOLT | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF5116 | 137 | LTC/Regulator source voltage adjusted for tap position estimation | yes - by feeder | <StationName> <DeviceID> TAP POS ESTIMATION SRC VOLTAGE ADJUSTED | RAVEN 13456 TAP POS ESTIMATION SRC VOLTAGE ADJUSTED |  | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PF696 | 138 | DPF has not been solved recently | no | <DivisionName> DPF has not been solved in the last <NumberMinutesl> minutes | SOUTH DPF has not been solved in the last 60 minutes | DMSSYS |  | FORMAT1 | NA |  | minutes | configurable (see above) | NA | NA | NA | empty
PV112 | 139 | PRV completed | no | <StationName> <FeederID> application PRV successfully completed | RAVEN F34523 PRV successfully completed | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PV113 | 140 | PRV failed to complete | no | <StationName> <FeederID> PRV failed to complete | RAVEN F34523 PRV failed to complete | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
PV326 | 141 | Protection setting group mismatch for device | no | <StationID> <FeederID> <DeviceID> INCORRECT PSG PROTECTION SETTINGS GROUP CHANGED FROM <OldGroupNumber> TO <NewGroupNumber> | RAVEN SWITCH 123456 INCORRECT PSG PROTECTION SETTINGS GROUP CHANGED FROM 1 TO 2 | DNAF_SC | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
PV370 | 142 | Protection zone violation returned to normal (this is detected by the PRV application, device is now in a proper state due to a change in the network or a change in the protection settings) | yes - by feeder/device? | <StationID> <DeviceID>: a PRV application protection zone violation returned to normal | RAVEN BREAKER 123456: a PRV application protection zone violation returned to normal | DNAF_SC | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
PV371 | 143 | Protection zone violation has been detected (this is detected by the PRV application, device is not in a proper state) | yes - by feeder/device? | <StationID> <DeviceID>: a PRV application protection zone violation has been detected | RAVEN BREAKER 123456: a PRV application protection zone violation has been detected | DNAF_SC | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV1106 | 144 | LVM station too many "controls not available" in a day | no | <StationName> TOO MANY 'CNTRLS NOT AVAILABLE' IN A DAY" | RAVEN TOO MANY 'CNTRLS NOT AVAILABLE' IN A DAY | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
VV112 | 145 | LVM completed | no | <StationName> <FeederID> LVM successfully completed | RAVEN F34523 LVM successfully completed | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
VV113 | 146 | LVM failed to complete | no | <StationName> <FeederID> LVM failed to complete | RAVEN F34523 LVM failed to complete | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
VV1130 | 147 | LVM DA support mode turned off after FISR/AFR plan without violations | no | <StationName> <FeederId> LVM DA SUPPORT MODE RETURN TO NORMAL | RAVEN 12345 LVM DA SUPPORT MODE RETURN TO NORMAL | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
VV1135 | 148 | LVM DA support mode turned on to reduce violations in FISR/AFR plans | no | <StationName> <FeederId> LVM DA SUPPORT MODE ENABLED | RAVEN 12345 LVM DA SUPPORT MODE ENABLED | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV1140 | 149 | Energized Sensor Zero Voltage Measurement Return To Normal | no | <StationName> ENERGIZED VOLT SENSOR <device> READING ZERO VOLT RETURNED TO NORMAL | RAVEN ENERGIZED VOLT SENSOR SEN123456 READ ZERO VOLT RETURNED TO NORMAL | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV1143 | 150 | Energized Sensor Zero Voltage Measurement | no | <StationName> ENERGIZED VOLT SENSOR <device> READ ZERO VOLT | RAVEN ENERGIZED VOLT SENSOR SEN123456 READ ZERO VOLT | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV1162 | 151 | LVM failsafe conditions ended for a station | yes - by station | <StationName> LVM FAILSAFE ENDED PROBLEM FORMULATION CHANGED TO <String> | RAVEN LVM FAILSAFE ENDED PROBLEM FORMULATION CHANGED TO REDUCE VIOLATIONS | DMSSYS | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
VV1165 | 152 | LVM failsafe conditions started for a station | yes - by station | <StationName> LVM FAILSAFE STARTED PROBLEM FORMULATION CHANGED TO <String> | RAVEN LVM FAILSAFE STARTED PROBLEM FORMULATION CHANGED TO REDUCE VIOLATIONS | DMSSYS | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
VV1175 | 153 | LVM retriggered due to a plan execution failure | yes - by station | <StationName> LVM RETRIGGERED DUE TO PLAN EXECUTION FAILURE | RAVEN LVM RETRIGGERED DUE TO PLAN EXECUTION FAILURE | DMSSYS | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
VV1183 | 154 | LVM plan execution fails because a device is found ineligible or a device state changed during a pre-implementation check | yes - by station | <StationName> LVM PLAN <PlanId> FAILED DEVICE STATE CHECK | RAVEN LVM PLAN LVM_1003080544 FAILED DEVICE STATE CHECK | DMSSYS | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
VV1198 | 155 | LVM plan canceled | no | <StationName> LVM PLAN <PlanId> CANCELED | RAVEN LVM PLAN LVM_1010103153 CANCELED | DMSSYS | RAVENNW | FORMAT2 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM station Id | empty
VV122 | 156 | Implementable LVM plans generated | no | <StationName> <FeederId> WORKABLE LVM PLAN GENERATED" | RAVEN 12345 WORKABLE LVM PLAN GENERATED | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
VV126 | 157 | No implementable LVM plans generated in XX hours | no | <StationName> <FeederID> No workable LVM plans generated <period> | RAVEN F34523 No workable LVM plans generated in 2 hours | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | hours | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
VV136 | 158 | Too many infeasible solutions in a row | no | <StationName> <FeederID> Too many infeasible solutions in a row | RAVEN F34523 Too many infeasible solutions in a row | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
VV146 | 159 | Too many infeasible solutions in a day | no | <StationName> <FeederID> Too many infeasible solutions in a day | RAVEN F34523 Too many infeasible solutions in a day | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
VV156 | 160 | Too many discarded solutions in a row | no | <StationName> <FeederID> Too many discarded solutions in a row | RAVEN F34523 Too many discarded solutions in a row | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
VV166 | 161 | Too many discarded solutions in a day | no | <StationName> <FeederID> Too many discarded solutions in a day | RAVEN F34523 Too many discarded solutions in a day | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
VV2106 | 162 | Too many "controls not available" in a day | no | <StationName> <FeederID> Too many "cntrls not available" in a day | RAVEN F34523 Too many "cntrls not available" in a day | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
VV2120 | 163 | LVM problem formulation returned to normal | no | <StationName> <FeederId> LVM PROBLEM FORMULATION RESTORED TO <String> | RAVEN 12345 LVM PROBLEM FORMULATION RESTORED TO REDUCE VIOLATIONS | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV2122 | 164 | LVM problem formulation changed | no | <StationName> <FeederId> LVM PROBLEM FORMULATION CHANGED TO <String> | RAVEN 12345 LVM PROBLEM FORMULATION CHANGED TO REDUCE VIOLATIONS | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
VV2162 | 165 | LVM failsafe conditions ended for a feeder | yes - by feeder | <StationName> <FeederName> LVM FAILSAFE ENDED PROBLEM FORMULATION CHANGED TO <String> | RAVEN F34523 LVM FAILSAFE ENDED PROBLEM FORMULATION CHANGED TO REDUCE VIOLATIONS | DMSSYS | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
VV2165 | 166 | LVM failsafe conditions started for a feeder | yes - by feeder | <StationName> <FeederName> LVM FAILSAFE STARTED PROBLEM FORMULATION CHANGED TO <String> | RAVEN F34523 LVM FAILSAFE STARTED PROBLEM FORMULATION CHANGED TO REDUCE VIOLATIONS | DMSSYS | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
VV217 | 167 | LVM is disabled for feeder | no | <StationName> <FeederID> LVM is disabled | RAVEN F34523 LVM is disabled | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
VV277 | 168 | LVM is off - too many controllers out of service | no | <StationName> <FeederID> LVM off - not enough controllers | RAVEN F34523 LVM off - not enough controllers | DMSSYS | RAVENNW | FORMAT1 | {"hasFeeder","hasLimit"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM feeder Id | empty
VV4106 | 169 | Too many capacitor controls issued in XX hours | no | <StationID> <DeviceID> Too many cap changes in <Number> hours | RAVEN 123456 Too many cap changes in 2 hours | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | hours | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV4116 | 170 | Too many capacitor controls issued in a day | no | <StationID> <DeviceID> Too many cap changes per day | RAVEN 123456 Too many cap changes per day | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV473 | 171 | LVM Capacitor switch failed | no | <StationID> <DeviceID> LVM cap switch failed <AttemptNumber> | RAVEN 123456 LVM cap switch failed (second) | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | attempt | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV490 | 172 | Actual Delta-V mismatch at capacitor controller (Return to Normal) | no | <StationID> <DeviceID> Delta-V mismatch (RETURN TO NORMAL) | RAVEN 123456 Delta-V mismatch (RETURN TO NORMAL) | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV491 | 173 | Actual Delta-V mismatch at capacitor controller | no | <StationID> <DeviceID> Delta-V mismatch at controller | RAVEN 123456 Delta-V mismatch at controller | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV5106 | 174 | Too many tap changes issued in XX hours | no | <StationID> <DeviceID> Too many tap changes in <Number> hours | RAVEN 123456 Too many tap changes in 2 hours | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | hours | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV5116 | 175 | Too many tap changes issued in a day | no | <StationID> <DeviceID> Too many tap changes per day | RAVEN 123456 Too many tap changes per day | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV5162 | 176 | LVM failsafe conditions ended for a transformer | yes - by transformer | <StationName> <TransformerName> LVM FAILSAFE ENDED PROBLEM FORMULATION CHANGED TO <String> | RAVEN T1 LVM FAILSAFE ENDED PROBLEM FORMULATION CHANGED TO REDUCE VIOLATIONS | DMSSYS | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV5165 | 177 | LVM failsafe conditions started for a transformer | yes - by transformer | <StationName> <TransformerName> LVM FAILSAFE STARTED PROBLEM FORMULATION CHANGED TO <String> | RAVEN T1 LVM FAILSAFE STARTED PROBLEM FORMULATION CHANGED TO REDUCE VIOLATIONS | DMSSYS | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV573 | 178 | LVM tap change failed | no | <StationID> <DeviceID> LVM tap change failed <AttemptNumber> | RAVEN 123456 LVM tap change failed (first) | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | attempt | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV578 | 179 | Tap changer move cancelled | no | <StationID> <DeviceID> LVM tap change cancelled | RAVEN 123456 LVM tap change cancelled | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV61212 | 180 | Optimization Group LVM system implementation percentage complete | yes | <DivisionName> AREA LVM SYSTEM IMPLEMENTATION <PercentConfiguration>% COMPLETE | WSTA AREA LVM SYSTEM IMPLEMENTATION 50.0% COMPLETE | DMSSYS | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | NA | NA | NA | empty
VV6122 | 181 | Optimization Group LVM system implementation ended | yes | <DivisionName> AREA LVM SYSTEM IMPLEMENTATION ENDED | WST AREA LVM SYSTEM IMPLEMENTATION ENDED | DMSSYS | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | NA | NA | NA | empty
VV6125 | 182 | Optimization Group LVM system implementation started | yes | <DivisionName> AREA LVM SYSTEM IMPLEMENTATION STARTED by <User> | WST AREA LVM SYSTEM IMPLEMENTATION STARTED by User1 | DMSSYS | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | NA | NA | NA | empty
VV6128 | 183 | Optimization Group LVM system implementation stopped | yes | <DivisionName> AREA LVM SYSTEM IMPLEMENTATION STOPPED by <User> | WST AREA LVM SYSTEM IMPLEMENTATION STOPPED by User1 | DMSSYS | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | NA | NA | NA | empty
VV6150 | 184 | If an LVM optimization group is in the throttling status, after some time, if the active and/or reactive power demand change rate is changed to a value less than the pre-defined threshold, the throttling status is cleared and this alarm is issued. | no | <DivisionName> AREA LVM THROTTLING RETURN TO NORMAL | WST AREA LVM THROTTLING RETURN TO NORMAL | DMSSYS | RAVENNW | FORMAT1 | NA |  | minutes | configurable (see above) | NA | NA | NA | empty
VV6154 | 185 | Optimization group secondary throttling check requested an execution pause | no | <DivisionName> AREA LVM THROTTLING EXCEEDED. PAUSING. | WST AREA LVM THROTTLING EXCEEDED. PAUSING. | DMSSYS | RAVENNW | FORMAT1 | NA |  | minutes | configurable (see above) | NA | NA | NA | empty
VV6155 | 186 | When LVM plan is generated, if LVM throttling function is enabled, the generated plan could be held in the queue before sending to plan manager if the real and/or reactive power demand change rate is greater than a pre-defined threshold for the LVM optimization group. In this case, this alarm is issued. | no | <DivisionName> AREA LVM THROTTLING STARTED | WST AREA LVM THROTTLING STARTED | DMSSYS | RAVENNW | FORMAT1 | NA |  | minutes | configurable (see above) | NA | NA | NA | empty
VV780 | 187 | Regulator group voltage imbalance (return to normal) | no | <StationID> <DeviceID> LVM tap voltage imbalance (RETURN TO NORMAL) | RAVEN 123456 LVM tap voltage imbalance (RETURN TO NORMAL) | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
VV781 | 188 | Regulator group voltage imbalance | no | <StationID> <DeviceID> LVM tap voltage imbalance | RAVEN 123456 LVM tap voltage imbalance | DMSSYS | RAVENNW | FORMAT2 | {"hasFeeder", "hasDevice"} |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | DNOM device Id | empty
HM001 | 189 | Reporting Scheduling conflicts between Hazard event and planned work activities | yes | Conflict Manager: A scheduled work conflict is detected at %<conflFdr>s between %<evtStr>s %<eventId>s and %<cnfStr>s %<conflId>s from %<startTime>s to %<endTime>s. Review if scheduled work can be postponed; if not, explore alternative switching options | Conflict Manager: A scheduled work conflict is detected at BETHPAGE F1043 between Hazard Event RFW-123 and Switching Request SWO-711 from 11/21/2025 17:00 to 11/22/2025 21:00. Review if scheduled work can be postponed; if not, explore alternative switching options. | DMSSYS | RAVENNW | FORMAT1 | NA |  | Event type, Conflcit type | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | Event ID | empty
HM002 | 190 | Hazard event created | yes | %<evtSubTyp>s event %<eventId>s is created in %<finState>s State by %<modBy>s | Red Flag Warning event RFW-123 is created in Watch State by user123 | DMSSYS | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | Event ID | empty
HM003 | 191 | Hazard event state transition from one state to another state (e.g., Watch to Pending, Pending to Active) | yes | %<evtSubTyp>s event %<eventId>s transitioned from %<iniState>s to %<finState>s by %<modBy>s | Red Flag Warning event RFW-123 transitioned from Watch to Pending by user123 | DMSSYS | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | Event ID | empty
HM004 | 192 | Hazard event cancelled | yes | %<evtSubTyp>s event %<eventId>s is canceled from %<iniState>s stage by %<modBy>s | Red Flag Warning event RFW-123 is canceled from Watch stage by user123 | DMSSYS | RAVENNW | FORMAT1 | NA |  | NA | configurable (see above) | CRC of DMS Station Name | 8-char EMS station name | Event ID | empty

## Message Formats
Message Format | Sort | Field Name | Beginning Position | Ending Position (inclusive) | Field Length | Comments
DMS1 | 1 | StationName | 1 | 16 | 16 | Note: stationName is equal to 16-char DMS station name (or 8-char EMS station id if no DMS name exists)
DMS1 | 2 | stationId | 17 | 24 | 8 | stationId is equal to 8-char EMS station id
DMS1 | 3 | devType |  |  |  | SWITCH, COMPSWITCH, CUT, or JUMPER
DMS1 | 4 | DeviceName or DeviceID | 25 | 60 | 36
DMS1 | 5 | feederid | 61 | 80 | 20
DMS1 | 6 | status
DMS10 | 7 | StationName | 1 | 16 | 16
DMS10 | 8 | stationId | 17 | 24 | 8
DMS10 | 9 | FeederID | 25 | 44 | 20
DMS10 | 10 | state | 45 | 59 | 15
DMS10 | 11 | address | 60 | 75 | 16
DMS10 | 12 | phase | 76 | 79 | 4
DMS11 | 13 | StationName | 1 | 16 | 16
DMS11 | 14 | stationId | 17 | 24 | 8
DMS11 | 15 | DeviceID | 25 | 60 | 36
DMS11 | 16 | phase | 61 | 63 | 3
DMS11 | 17 | FeederID | 64 | 83 | 20
DMS2 | 18 | StationName1 | 1 | 16 | 16
DMS2 | 19 | stationId1 | 17 | 24 | 8
DMS2 | 20 | FeederID1 | 25 | 44 | 20
DMS2 | 21 | phase1 | 45 | 47 | 3
DMS2 | 22 | StationName2 | 48 | 63 | 16
DMS2 | 23 | stationId2 | 64 | 71 | 8
DMS2 | 24 | FeederID2 | 72 | 91 | 20
DMS2 | 25 | phase2 | 92 | 94 | 3
DMS2 | 26 | address | 95 | 110 | 16
DMS3 | 27 | StationName | 1 | 16 | 16
DMS3 | 28 | stationId | 17 | 24 | 8
DMS3 | 29 | FeederID | 25 | 44 | 20
DMS3 | 30 | phase | 45 | 47 | 3
DMS3 | 31 | address | 48 | 63 | 16
DMS4 | 32 | StationName | 1 | 16 | 16
DMS4 | 33 | stationId | 17 | 24 | 8
DMS4 | 34 | FeederID | 25 | 44 | 20
DMS4 | 35 | phase | 45 | 48 | 4
DMS4 | 36 | address | 49 | 64 | 16
DMS4 | 37 | state | 65 | 79 | 15
DMS5 | 38 | StationName | 1 | 16 | 16
DMS5 | 39 | stationId | 17 | 24 | 8
DMS5 | 40 | annotation comment | 25 | 66 | 42
DMS5 | 41 | annotation name | 67 | 82 | 16
DMS5 | 42 | DeviceID | 83 | 98 | 16
DMS6 | 43 | StationName | 1 | 16 | 16
DMS6 | 44 | stationId | 17 | 24 | 8
DMS7 | 45 | StationName | 1 | 16 | 16
DMS7 | 46 | stationId | 17 | 24 | 8
DMS7 | 47 | DeviceID | 25 | 60 | 36
DMS7 | 48 | state | 61 | 66 | 6
DMS7 | 49 | FeederID | 67 | 86 | 20
DMS8 | 50 | role | 1 | 22 | 22
DMS8 | 51 | server | 23 | 31 | 9
DMS9 | 52 | StationName | 1 | 16 | 16
DMS9 | 53 | stationId | 17 | 24 | 8
DMS9 | 54 | FeederID | 25 | 44 | 20
Format1 | 55 | stationId | 1 | 8 | 8
Format1 | 56 | StationName (dms) | 9 | 24 | 16
Format1 | 57 | FeederID | 25 | 44 | 20
Format1 | 58 | altFeederName | 45 | 59 | 15
Format1 | 59 | limitName | 60 | 79 | 20
Format2 | 60 | StationName (dms) | 80 | 95 | 16
Format2 | 61 | FeederID | 96 | 115 | 20
Format2 | 62 | DeviceType | 116 | 129 | 14
Format2 | 63 | stationId | 1 | 8 | 8
Format2 | 64 | DeviceID | 9 | 44 | 36
OMS1 | 65 | incidentId | 1 | 9 | 9
OMS1 | 66 | StationName | 10 | 25 | 16
OMS1 | 67 | stationId | 26 | 33 | 8
OMS1 | 68 | DeviceID | 34 | 69 | 36
OMS10 | 69 | areaNote | 1 | 24 | 24
OMS2 | 70 | incidentId | 1 | 9 | 9
OMS2 | 71 | newValue | 10 | 33 | 24
OMS3 | 72 | incidentId | 1 | 9 | 9
OMS3 | 73 | oldValue | 10 | 33 | 24
OMS3 | 74 | newValue | 34 | 57 | 24
OMS4 | 75 | details | 1 | 60 | 60
OMS5 | 76 | incidentId | 1 | 9 | 9
OMS5 | 77 | oldValue | 10 | 33 | 24
OMS5 | 78 | newValue | 34 | 57 | 24
OMS5 | 79 | stepNumber | 58 | 60 | 3 | Restoration step number of the incident.
OMS6 | 80 | incidentId | 1 | 9 | 9
OMS6 | 81 | StationName | 10 | 25 | 16
OMS6 | 82 | DeviceID | 26 | 61 | 36
OMS7 | 83 | incidentId | 1 | 9 | 9
OMS8 | 84 | acctNumber | 1 | 24 | 24
OMS8 | 85 | meterNumber | 25 | 40 | 16
OMS9 | 86 | acctNumber | 1 | 24 | 24
OMS9 | 87 | meterNumber | 25 | 40 | 16
OMS9 | 88 | operation | 41 | 72 | 32
HM001 | 89 | Event ID | 1 | 28 | 28
HM001 | 90 | Conflict ID | 29 | 56 | 28
HM001 | 91 | Start Time | 57 | 72 | 16
HM001 | 92 | End Time | 73 | 88 | 16
HM001 | 93 | Conflict Feedername | 89 | 128 | 40
HM002 | 94 | Event Sub Type | 1 | 28 | 28
HM002 | 95 | Event ID | 29 | 56 | 28
HM002 | 96 | Final State | 57 | 66 | 10
HM002 | 97 | Modified By | 67 | 96 | 30
HM003 | 98 | Event Sub Type | 1 | 28 | 28
HM003 | 99 | Event ID | 29 | 56 | 28
HM003 | 100 | Initial State | 57 | 66 | 10
HM003 | 101 | Final State | 67 | 76 | 10
HM003 | 102 | Modified By | 77 | 106 | 30
HM004 | 103 | Event Sub Type | 1 | 28 | 28
HM004 | 104 | Event ID | 29 | 56 | 28
HM004 | 105 | Initial State | 57 | 66 | 10
HM004 | 106 | Modified By | 67 | 96 | 30