## Introduction
ADMS
16.0.0
Customer Field Definition Mapping Tables
Document Date: Apr 24, 2024
This Excel workbook is a supplement to the Customer List Compiler User Guide.
Copyright
Copyright 2025, GE Vernova and/or its affiliates ("GE Vernova"). All Rights Reserved. This document is the confidential and
proprietary information of GE Vernova and may not be reproduced, transmitted, stored, or copied in whole or in part, or
used to furnish information to others, without the prior written permission of GE Vernova.

## Overview
Document Overview and Notes
1 | This spreadsheet is designed to assist with the customer modeling. It should be used in conjunction with the Customer List Compiler User's Guide. This spreadsheet is a working tool for the field mapping exercise between the utility's customer information system and the data definition for the ADMS.
2 | The spreadheet is intended to be sortable in two different modes. - First, it can be sorted by Column B in alphabetical order by field name. - Second, it can be sorted by Column A numerically to group the fields logically. Note, the row height might need to be auto-resized after each change in sorting.
3 | "CustomerKey" is a field that is populated from one or more other fields. Typically, it is set as [AccountNumber + MeterNumber]
4 | There is no a "complete address" field like the full customer name. The "Address" column contains the combo of the individual address items in the model.

## Customer Field Mapping
Sort | UDF? | Field Name | Description | Data Format | Required? | Customer Key | CIS Equivalent Field | CIS Comments | Comments
1 |  | AccountNumber | The customer's account number is the billing ID or account number that shows up on the customer's statement. This can be used to search for a customer as an alternative to name, address, or phone number. Within CallServer messages, the <AccountID> field can be used to match up a phone call with the appropriate customer in the OMS. This interface field is intended to be popuplated with the Customer Model's AccountNumber. However, if AccountNumber is used for customers with more than one meter (on the same account), there is chance that the call gets associated with the wrong meter of the multiple meters on their account. This usually is benign and the crews go to the correct location anyway, but if the utility allows for multiple meters on the same account, it is recommended to use the CustomerKey field instead of AccountID in CallServer messages to uniquely represent each meter for incoming calls. | String | Required
2
3 |  | FirstName | The customer's first name | String | Recommended
4 |  | MiddleName | The customer's middle name | String | Recommended
5 |  | LastName | The customer's last name | String | Recommended
6 |  | CustomerName | The customer's full name | String | Recommended
7
8 |  | StreetNumber | The customer's street number | String | Recommended
9 |  | StreetName | The customer's street name | String | Recommended
10 |  | StreetSuffix | The customer's street suffix (St., Pl., Ave., etc.). | String | Recommended
11 |  | ApartmentNumber | The customer's apartment number | String | Recommended
12 |  | Zipcode | The zip code from the customer's address | String | Recommended
12
13 |  | AreaCode | The area code of the customer's phone number | String | Recommended
14 |  | PhonePrefix | The customer's phone prefix | String | Recommended
15 |  | PhoneSuffix | The customer's phone suffix | String | Recommended
16 |  | PhoneNumber | The customer's phone number, including area code, phone prefix, and phone suffix | String | Recommended
17
18 |  | MeterNumber | The customer's meter number. This should match what the AMI system is using in order to facilitate messages to/from specific meters (i.e. ping and last gasp). If this is unique within the entire space, then it can be used as the "CustomerKey". Otherwise, MeterNumber + AccountNumber makes a good CustomerKey. If the plan is to have an AMI interface, then this needs to be defined properly. If there is no AMI, then the field could be considered optional. | String | Required
19 |  | ServicePoint | The ID of the service point the customer belongs to For example, SP_<Distribution Transformer ID>. This field is required in order to connect the customer model with the electrical model. For more information, see the "Service Point Types" tab in this document for digrams depicting this. In diagram/option #3, the ServicePoint field could be populated with a meter-socket identifier, if the utility is using that ID in various systems. | String | Required
20 |  | Latitude | The latitude/longitude coordinates of the customer's location (if applicable). This field is used when the customer cannot provide X/Y coordinates. The Customer List Compiler tool can convert Lat/Lon to US State Plane. Note that the appropriate conversion system must be specified, either by selecting the "Using UTM" option or specifying the State Plane Zone value on the Conversion tab. Note, if X,Y is specified, then Lat/Lon is only included as an informational data point. | Floating Point | Optional
21 |  | Longitude | * see Latitude | Floating Point | Optional
22 |  | X | The customer's position on the X/Y coordinate system (this coordinate system must match that of the GIS extract). This is a required field, however, if not available Lat/Lon can be used instead. If neither are present, then the customer/meter cannot be drawn on the map. If possible, the (x,y) location (or LAT/LON) should be identifying the location of the meter itself, not the center of a building or property. It is not a problem if it is based on the property, but the ideal setup would be the meter location. | Floating Point | Required
23 |  | Y | * see X | Floating Point | Required
24 |  | LoadCategory | The customer's load category can also be referred to as a rate category (e.g., Residential, Commercial). The load category can be obtained from the customer file, station model file, or the global.csv file. If the load category is not available in the customer file or the station model file, the load category from the global.csv file is applied. This category in the CSV file is from either the default load category, if defined, or the first load category in the list. For primary meters, the load category from the customer file has priority over the load category from the station model file. When this field is specified, it gets used by the DNOM Model Converter. The Converter has a functionality to add one DNOM Load per Customer from the customer file (.BPCL), if the Loads are not modeled in GIS. In such cases, the Converter reads 3 or 4 fields from every customer record - SERVICEPOINT, LOADCATEGORY, NUMBER OF METERS, AVERAGEKWH/KW etc. The load category of the customer will be the load category of the load which will be created by Converter and hence will be used by DPF using the global file fields (Load Category -> Schedule -> Schedule Points) The Customer List Compiler calculates the "Number of Meters" field by summing the number of customer meters per service point. | String | Needed for DPF accuracy
25 |  | LoadID | The customer's associated DMS load record ID. If you have a customer with rooftop solar, that customer could be modeled as a nonconforming load in DNOM and that ID in DNOM could then be associated with the particular customer using this LoadID field. If the load will be defined in the customer model, then there isn't a need to tie this back to another load identifier in the electrical model (DNOM). If the load is defined in the station external file, then this field is required for correct AMI association. | String | Optional
26 |  | KWH1 | Monthly average energy consumption, per meter, in KWH (KWH1, KWH2, … KWH12) Or, monthly average power (KW) consumption can be used (KW1, KW2, ... KW12). See the "Modeling Load Using Customer Compiler" section in the documentation for more information on the Average KWH/KW modeling. This is per meter per month, regardless of relationships to accounts or multiple meters or changes in ownership. KWH1 is the most recent month and KWH12 is data from a year ago. This is a rolling (whole month) rolling value-set. This can be updated on the first of the month, or be aligned with billing cycles. | Floating Point | Optional |  | The first full load of the month will be used to populate this data.
27 |  | KWH2 | " | " | "
28 |  | KWH3 | " | " | "
29 |  | KWH4 | " | " | "
30 |  | KWH5 | " | " | "
31 |  | KWH6 | " | " | "
32 |  | KWH7 | " | " | "
33 |  | KWH8 | " | " | "
34 |  | KWH9 | " | " | "
35 |  | KWH10 | " | " | "
36 |  | KWH11 | " | " | "
37 |  | KWH12 | " | " | "
38 |  | AMI | Indicates whether a customer has an AMI meter or not. If not, AMI ping messages cannot be sent to customer meters. The values in the customer input file can be: - 0: Customer/Meter is not AMI capable - 1: Customer/Meter is AMI capable | Boolean 0/1 | Required for AMI to work
39 |  | AmiLoad | A Boolean value to indicate that the customer's AMI meter supports load data reporting (0/1). If load data reporting is supported, set this field to 1; if it is not supported, set to 0. If not using the AMI interface with meter measurements, set the Position and Length of this field to 0. | Boolean 0/1 | Required for AMI to work properly
40 |  | AmiVolt | A Boolean value to indicate that the customer's AMI meter supports voltage data and voltage exception reporting (0/1). If the voltage data and exception reporting is supported, set this field to 1; if it is not supported, set to 0. If not using the AMI interface with meter measurements, set the Position and Length of this field to 0. Load Volt Var Management (LVM) uses this. | Boolean 0/1 | Required for AMI to work properly |  |  |  | If LVM is not used, should this be set to 0 or not included? What if the utility wants to use VoltPing, but not LVM?
41
42 |  | HazardousCustomer | A description (string) about a hazardous condition on the customer's property (e.g., vicious dog, unsafe bridge, hostile customer) for the safety of crews assigned to an associated incident. A customer is flagged as being hazardous if a hazardous description is provided. Hazardous customers have a different icon on the geographic network view. Note, entering a string in this field, inherently sets a boolean that this customer is Hazardous. The customer symbol on the geographic is the same configurable hazardous symbol regardless of the string entered. The text of the explanatory string though can be seen by selecting the customer. | String | Recommended for specific customer instances
43 |  | DerId | The customer's associated DMS distributed energy resource (DER) record ID for aggregated loads. This was used on a pilot project and is not programmatically applicable on projects going forward as of 3.9+. However, as an optional field, it could be populated in order to show this value on a display in the OMS (that may have little to no value, so "No" should be the default stance for populating this value") | String | Do NOT use.
44 |  | CriticalAccount | The key of the customer's critical type 1. The field name here is CriticalAccount and not CriticalAccount1 for backward compatability with models that were created prior to the enhancement which added the buckets for Critical Account types 2 through 5. These fields are all optional, and utilities can decide if they want to use just one, or all five, or somewhere in between. For example, group 1 could be "critical infrastructure" such as national security, hospitals, water/sewer, fire, police. Then, group 2 could be priority and include schools, large industrial, etc. Group 3 could be residential medically sensitive customers and large commercial, and so on. The data format is a 2 digit number which matches an enumeration defined in the Coded Translation Editor (CTE). Each of the various account groups are meant to help with outage prioritization during major events. This can (indirectly) roll up into affecting the load shed. These values by themselves are just used in the tabular displays, etc. When doing model conversions, thre's an option to utilize the customer model when building the electrical models. If that option is chosen, the critical accounts get tallied up and associated with various points on the electrical network. Then if a load shed is needed, we can see how many "critical" customers would be affected. | (00 - 99) | Optional
45 |  | CriticalAccount2 | The key of the customer's critical type 2 | (00 - 99) | Optional
46 |  | CriticalAccount3 | The key of the customer's critical type 3 | (00 - 99) | Optional
47 |  | CriticalAccount4 | The key of the customer's critical type 4 | (00 - 99) | Optional
48 |  | CriticalAccount5 | The key of the customer's critical type 5 | (00 - 99) | Optional
49 |  | InactiveAccount | A Boolean value indicating if the customer's account is inactive. InactiveAccounts will NOT be included in CMI and other outage metrics. The UI shows InactiveAccount meters as a double ellipse. This can be used to leave a meter in the model, but exclude it from outages and statistics. Scenario-1: Owner moves out, and cancels service Scenario-2: Unpaid Disconnect Scenario-3: Seasonal disconnect (e.g. hunting cabin) There is also a "Suspend" feature in the run-time ADMS. The Inactive account information comes from the CIS, whereas the Suspend is something that happens in the field. For example, if a field crew has disconnected a meter due to fire or other "real-time" reasons, that customer can be suspended via the UI, so that a longer period outage won't be included in CMI. If the house burned down, the utility should not be penalized for the disconnect. | Boolean 0/1 | Recommended for specific instances
50 |  | PremiseID | The identification number of the customer's premise. This is intended to identify the land where the meter resides. There can be more than one meter per premiseID in cases where a house and a barn/shop each have a meter. There should be two different MeterIDs in that case, but it could be the same PremiseID. | String | Optional
51 |  | ServiceCenter | The name of the service center the customer belongs to. All valid customers must be associated with a service center. This is the lowest level in the organizational hierarchy and matches with the Service Center field on the switches and transformers in DNOM. | String | Required
52 |  | OperatingCenter | The name of the service center the customer belongs to. Used for backward compatibility with e-terradistribution 3.7 and earlier. Newer versions use ServiceCenter instead. | String | Do NOT use.
53 |  | SpecialAccount | Indicates if this is a special account (for example, police). When this option is selected, all calls from these customers appear on the 911 Calls tab in the Outage Management system. | Boolean 0/1 | Do NOT use.
54 |  | ServiceDrop | The customer's service drop | String | Do NOT use.
55 | UDF | InactiveDescription | Optional User Defined Field: Could be used to write a description about why the meter is disconnected (such as Non-Payment, or move-out) | String | UDF-Optional
56 | UDF | MeterDisplay | Meter number used as the human-friendly ID/name to used for display pursposes. | String | UDF-Optional
57 | UDF | Address | Complete Address with all the fields. | String | UDF-Optional

## Service Point Types
Option 3: Multiple customer meters with Multiple Service Points
Service Points Type:
There are multiple ways to define the "ServicePoint" field. The following drawings present the options:
Option 1: Single customer meter and Single Service Point
Option 2: Multiple customer meters to a single Service Point.
Option 3: Multiple customer meters with Multiple Service Points
Option 4: Multiple customer meters with Multiple Service Points under Secondary Lines (service drops)